{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":580,"n_cols":7,"rows_kept":580,"cut":false,"hidden":false,"merged":[]}
["编号","传感器名称","温度℃","湿度%","温度范围 ℃","湿度范围 %","记录时间"]
[1,"",21.2,41,"2.00~24.00","20.00~90.00","2022-1-18 12:58:00"]
[2,"",21.1,41,"2.00~24.00","20.00~90.00","2022-1-18 12:53:00"]
[3,"",20.8,41,"2.00~24.00","20.00~90.00","2022-1-18 12:48:00"]
[4,"",18.8,45,"2.00~24.00","20.00~90.00","2022-1-18 12:43:00"]
[5,"",19.1,45,"2.00~24.00","20.00~90.00","2022-1-18 12:38:00"]
[6,"",19.2,46,"2.00~24.00","20.00~90.00","2022-1-18 12:33:00"]
[7,"",19.3,45,"2.00~24.00","20.00~90.00","2022-1-18 12:28:00"]
[8,"",19.2,45,"2.00~24.00","20.00~90.00","2022-1-18 12:23:00"]
[9,"",19.1,45,"2.00~24.00","20.00~90.00","2022-1-18 12:18:00"]
[10,"",19.3,45,"2.00~24.00","20.00~90.00","2022-1-18 12:13:00"]
[11,"",19.2,45,"2.00~24.00","20.00~90.00","2022-1-18 12:08:00"]
[12,"",18.9,45,"2.00~24.00","20.00~90.00","2022-1-18 12:03:00"]
[13,"",18.4,47,"2.00~24.00","20.00~90.00","2022-1-18 11:58:00"]
[14,"",18.4,46,"2.00~24.00","20.00~90.00","2022-1-18 11:53:00"]
[15,"",17.8,47,"2.00~24.00","20.00~90.00","2022-1-18 11:48:00"]
[16,"",17.7,48,"2.00~24.00","20.00~90.00","2022-1-18 11:43:00"]
[17,"",16.8,50,"2.00~24.00","20.00~90.00","2022-1-18 11:38:00"]
[18,"",16.8,50,"2.00~24.00","20.00~90.00","2022-1-18 11:33:00"]
[19,"",17,50,"2.00~24.00","20.00~90.00","2022-1-18 11:28:00"]
[20,"",17,50,"2.00~24.00","20.00~90.00","2022-1-18 11:23:00"]
[21,"",17.1,50,"2.00~24.00","20.00~90.00","2022-1-18 11:18:00"]
[22,"",17.4,50,"2.00~24.00","20.00~90.00","2022-1-18 11:13:00"]
[23,"",16.1,51,"2.00~24.00","20.00~90.00","2022-1-18 11:08:00"]
[24,"",16.3,52,"2.00~24.00","20.00~90.00","2022-1-18 11:03:00"]
[25,"",16.2,52,"2.00~24.00","20.00~90.00","2022-1-18 10:58:00"]
[26,"",16.1,52,"2.00~24.00","20.00~90.00","2022-1-18 10:53:00"]
[27,"",16.3,52,"2.00~24.00","20.00~90.00","2022-1-18 10:48:00"]
[28,"",17,50,"2.00~24.00","20.00~90.00","2022-1-18 10:43:00"]
[29,"",16.7,50,"2.00~24.00","20.00~90.00","2022-1-18 10:38:00"]
[30,"",16.5,51,"2.00~24.00","20.00~90.00","2022-1-18 10:33:00"]
[31,"",16.3,51,"2.00~24.00","20.00~90.00","2022-1-18 10:28:00"]
[32,"",16.4,51,"2.00~24.00","20.00~90.00","2022-1-18 10:22:34"]
[33,"",16.3,52,"2.00~24.00","20.00~90.00","2022-1-18 10:18:00"]
[34,"",16.1,51,"2.00~24.00","20.00~90.00","2022-1-18 10:13:00"]
[35,"",16,52,"2.00~24.00","20.00~90.00","2022-1-18 10:08:00"]
[36,"",15.7,51,"2.00~24.00","20.00~90.00","2022-1-18 10:03:00"]
[37,"",15.6,52,"2.00~24.00","20.00~90.00","2022-1-18 09:58:00"]
[38,"",15.3,53,"2.00~24.00","20.00~90.00","2022-1-18 09:53:00"]
[39,"",14.9,54,"2.00~24.00","20.00~90.00","2022-1-18 09:48:00"]
[40,"",14.6,54,"2.00~24.00","20.00~90.00","2022-1-18 09:43:00"]
[41,"",14.3,55,"2.00~24.00","20.00~90.00","2022-1-18 09:38:00"]
[42,"",14,56,"2.00~24.00","20.00~90.00","2022-1-18 09:32:00"]
[43,"",13.7,56,"2.00~24.00","20.00~90.00","2022-1-18 09:27:00"]
[44,"",13.4,57,"2.00~24.00","20.00~90.00","2022-1-18 09:22:00"]
[45,"",13.2,57,"2.00~24.00","20.00~90.00","2022-1-18 09:17:00"]
[46,"",13,58,"2.00~24.00","20.00~90.00","2022-1-18 09:12:30"]
[47,"",12.6,59,"2.00~24.00","20.00~90.00","2022-1-18 09:07:34"]
[48,"",19.9,46,"2.00~24.00","20.00~90.00","2022-1-18 03:44:00"]
[49,"",20,45,"2.00~24.00","20.00~90.00","2022-1-18 03:40:00"]
[50,"",20,45,"2.00~24.00","20.00~90.00","2022-1-18 03:38:00"]
[51,"",20,45,"2.00~24.00","20.00~90.00","2022-1-18 03:37:00"]
[52,"",19.9,45,"2.00~24.00","20.00~90.00","2022-1-18 03:36:00"]
[53,"",19.9,46,"2.00~24.00","20.00~90.00","2022-1-18 03:35:00"]
[54,"",19.9,45,"2.00~24.00","20.00~90.00","2022-1-18 03:34:00"]
[55,"",19.8,46,"2.00~24.00","20.00~90.00","2022-1-18 03:33:00"]
[56,"",19.8,46,"2.00~24.00","20.00~90.00","2022-1-18 03:32:00"]
[57,"",19.8,46,"2.00~24.00","20.00~90.00","2022-1-18 03:31:00"]
[58,"",19.8,46,"2.00~24.00","20.00~90.00","2022-1-18 03:30:00"]
[59,"",19.7,46,"2.00~24.00","20.00~90.00","2022-1-18 03:29:00"]
[60,"",18.8,47,"2.00~24.00","20.00~90.00","2022-1-18 02:21:00"]
[61,"",18.9,47,"2.00~24.00","20.00~90.00","2022-1-18 02:20:00"]
[62,"",18.9,47,"2.00~24.00","20.00~90.00","2022-1-18 02:19:00"]
[63,"",18.8,47,"2.00~24.00","20.00~90.00","2022-1-18 02:18:00"]
[64,"",18.8,47,"2.00~24.00","20.00~90.00","2022-1-18 02:17:00"]
[65,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:16:00"]
[66,"",18.8,47,"2.00~24.00","20.00~90.00","2022-1-18 02:15:00"]
[67,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:14:00"]
[68,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:13:00"]
[69,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:12:00"]
[70,"",18.6,47,"2.00~24.00","20.00~90.00","2022-1-18 02:11:00"]
[71,"",18.6,47,"2.00~24.00","20.00~90.00","2022-1-18 02:10:00"]
[72,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:09:00"]
[73,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:08:00"]
[74,"",18.6,47,"2.00~24.00","20.00~90.00","2022-1-18 02:07:00"]
[75,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:06:00"]
[76,"",18.6,47,"2.00~24.00","20.00~90.00","2022-1-18 02:05:00"]
[77,"",18.7,47,"2.00~24.00","20.00~90.00","2022-1-18 02:04:00"]
[78,"",19,46,"2.00~24.00","20.00~90.00","2022-1-18 02:03:00"]
[79,"",19.5,46,"2.00~24.00","20.00~90.00","2022-1-18 02:02:00"]
[80,"",22.2,91,"2.00~24.00","20.00~90.00","2022-1-18 02:01:00"]
[81,"",20.9,42,"2.00~24.00","20.00~90.00","2022-1-18 02:00:00"]
[82,"",20.9,42,"2.00~24.00","20.00~90.00","2022-1-18 01:59:00"]
[83,"",20.8,42,"2.00~24.00","20.00~90.00","2022-1-18 01:58:00"]
[84,"",20.8,42,"2.00~24.00","20.00~90.00","2022-1-18 01:57:00"]
[85,"",21,42,"2.00~24.00","20.00~90.00","2022-1-18 01:56:00"]
[86,"",21.2,41,"2.00~24.00","20.00~90.00","2022-1-18 01:55:00"]
[87,"",21.4,41,"2.00~24.00","20.00~90.00","2022-1-18 01:54:00"]
[88,"",21.7,40,"2.00~24.00","20.00~90.00","2022-1-18 01:53:00"]
[89,"",22.1,40,"2.00~24.00","20.00~90.00","2022-1-18 01:52:00"]
[90,"",22,40,"2.00~24.00","20.00~90.00","2022-1-18 01:51:00"]
[91,"",21.9,40,"2.00~24.00","20.00~90.00","2022-1-18 01:50:00"]
[92,"",21.9,42,"2.00~24.00","20.00~90.00","2022-1-18 01:49:00"]
[93,"",21.8,40,"2.00~24.00","20.00~90.00","2022-1-18 01:48:00"]
[94,"",21.7,41,"2.00~24.00","20.00~90.00","2022-1-18 01:47:00"]
[95,"",21.7,41,"2.00~24.00","20.00~90.00","2022-1-18 01:46:00"]
[96,"",21.6,41,"2.00~24.00","20.00~90.00","2022-1-18 01:45:00"]
[97,"",21.5,41,"2.00~24.00","20.00~90.00","2022-1-18 01:44:00"]
[98,"",21.5,41,"2.00~24.00","20.00~90.00","2022-1-18 01:43:00"]
[99,"",21.4,41,"2.00~24.00","20.00~90.00","2022-1-18 01:42:00"]
[100,"",21.4,41,"2.00~24.00","20.00~90.00","2022-1-18 01:41:00"]
[101,"",21.4,41,"2.00~24.00","20.00~90.00","2022-1-18 01:40:00"]
[102,"",21.3,41,"2.00~24.00","20.00~90.00","2022-1-18 01:38:00"]
[103,"",21.1,41,"2.00~24.00","20.00~90.00","2022-1-18 01:33:00"]
[104,"",21,42,"2.00~24.00","20.00~90.00","2022-1-18 01:28:00"]
[105,"",20.8,42,"2.00~24.00","20.00~90.00","2022-1-18 01:23:00"]
[106,"",20.6,42,"2.00~24.00","20.00~90.00","2022-1-18 01:18:00"]
[107,"",20.3,43,"2.00~24.00","20.00~90.00","2022-1-18 01:13:00"]
[108,"",20,43,"2.00~24.00","20.00~90.00","2022-1-18 01:08:00"]
[109,"",20.4,43,"2.00~24.00","20.00~90.00","2022-1-18 01:03:00"]
[110,"",17.3,50,"2.00~24.00","20.00~90.00","2022-1-18 12:53:00"]
[111,"",17,50,"2.00~24.00","20.00~90.00","2022-1-18 12:50:00"]
[112,"",17,50,"2.00~24.00","20.00~90.00","2022-1-18 12:45:00"]
[113,"",16.8,50,"2.00~24.00","20.00~90.00","2022-1-18 12:40:00"]
[114,"",16.9,50,"2.00~24.00","20.00~90.00","2022-1-18 12:35:00"]
[115,"",16.8,50,"2.00~24.00","20.00~90.00","2022-1-18 12:30:00"]
[116,"",16.8,50,"2.00~24.00","20.00~90.00","2022-1-18 12:25:00"]
[117,"",16.7,50,"2.00~24.00","20.00~90.00","2022-1-18 12:20:00"]
[118,"",16.7,50,"2.00~24.00","20.00~90.00","2022-1-18 12:15:00"]
[119,"",16.6,50,"2.00~24.00","20.00~90.00","2022-1-18 12:10:00"]
[120,"",16.6,50,"2.00~24.00","20.00~90.00","2022-1-18 12:05:00"]
[121,"",16.6,50,"2.00~24.00","20.00~90.00","2022-1-18 12:00:00"]
[122,"",16.5,50,"2.00~24.00","20.00~90.00","2022-1-18 11:55:00"]
[123,"",16.5,50,"2.00~24.00","20.00~90.00","2022-1-18 11:50:00"]
[124,"",16.3,51,"2.00~24.00","20.00~90.00","2022-1-18 11:45:00"]
[125,"",16.4,51,"2.00~24.00","20.00~90.00","2022-1-18 11:40:00"]
[126,"",16.3,51,"2.00~24.00","20.00~90.00","2022-1-18 11:35:00"]
[127,"",16.3,51,"2.00~24.00","20.00~90.00","2022-1-18 11:30:00"]
[128,"",16.3,51,"2.00~24.00","20.00~90.00","2022-1-18 11:25:00"]
[129,"",16.2,51,"2.00~24.00","20.00~90.00","2022-1-18 11:20:00"]
[130,"",16.2,51,"2.00~24.00","20.00~90.00","2022-1-18 11:15:00"]
[131,"",16.2,51,"2.00~24.00","20.00~90.00","2022-1-18 11:10:00"]
[132,"",16.2,51,"2.00~24.00","20.00~90.00","2022-1-18 11:05:00"]
[133,"",16.1,51,"2.00~24.00","20.00~90.00","2022-1-18 11:00:00"]
[134,"",16.1,51,"2.00~24.00","20.00~90.00","2022-1-18 10:55:00"]
[135,"",16.1,51,"2.00~24.00","20.00~90.00","2022-1-18 10:50:00"]
[136,"",16,51,"2.00~24.00","20.00~90.00","2022-1-18 10:45:00"]
[137,"",15.9,51,"2.00~24.00","20.00~90.00","2022-1-18 10:40:00"]
[138,"",15.9,51,"2.00~24.00","20.00~90.00","2022-1-18 10:35:00"]
[139,"",15.7,52,"2.00~24.00","20.00~90.00","2022-1-18 10:30:00"]
[140,"",15.7,52,"2.00~24.00","20.00~90.00","2022-1-18 10:25:00"]
[141,"",15.5,52,"2.00~24.00","20.00~90.00","2022-1-18 10:20:00"]
[142,"",15.5,52,"2.00~24.00","20.00~90.00","2022-1-18 10:15:00"]
[143,"",15.5,52,"2.00~24.00","20.00~90.00","2022-1-18 10:10:00"]
[144,"",15.4,52,"2.00~24.00","20.00~90.00","2022-1-18 10:05:00"]
[145,"",15.3,52,"2.00~24.00","20.00~90.00","2022-1-18 10:00:00"]
[146,"",15.2,53,"2.00~24.00","20.00~90.00","2022-1-18 09:55:00"]
[147,"",15.1,52,"2.00~24.00","20.00~90.00","2022-1-18 09:49:41"]
[148,"",15.1,52,"2.00~24.00","20.00~90.00","2022-1-18 09:44:45"]
[149,"",15,52,"2.00~24.00","20.00~90.00","2022-1-18 09:40:00"]
[150,"",14.9,52,"2.00~24.00","20.00~90.00","2022-1-18 09:35:00"]
[151,"",14.7,53,"2.00~24.00","20.00~90.00","2022-1-18 09:30:00"]
[152,"",14.8,53,"2.00~24.00","20.00~90.00","2022-1-18 09:25:00"]
[153,"",14.6,52,"2.00~24.00","20.00~90.00","2022-1-18 09:20:00"]
[154,"",14.7,52,"2.00~24.00","20.00~90.00","2022-1-18 09:15:00"]
[155,"",14.8,51,"2.00~24.00","20.00~90.00","2022-1-18 09:10:00"]
[156,"设备2_2",5,58,"0.00~100.00","0.00~0.00","2022-1-18 12:30:00"]
[157,"设备2_2",6.2,45,"0.00~100.00","0.00~0.00","2022-1-18 12:00:00"]
[158,"设备2_2",5,58,"0.00~100.00","0.00~0.00","2022-1-18 11:30:00"]
[159,"设备2_2",6.2,45,"0.00~100.00","0.00~0.00","2022-1-18 11:00:00"]
[160,"设备2_2",5,58,"0.00~100.00","0.00~0.00","2022-1-18 10:30:00"]
[161,"设备2_2",3.3,52,"0.00~100.00","0.00~0.00","2022-1-18 09:00:00"]
[162,"设备2_2",6.2,45,"2.00~100.00","0.00~0.00","2022-1-18 02:00:00"]
[163,"设备2_2",5,58,"2.00~100.00","0.00~0.00","2022-1-18 01:30:00"]
[164,"设备2_2",6.2,45,"0.00~100.00","0.00~0.00","2022-1-18 01:00:00"]
[165,"设备2_3",4.7,49,"0.00~100.00","0.00~0.00","2022-1-18 12:30:00"]
[166,"设备2_3",6,40,"0.00~100.00","0.00~0.00","2022-1-18 12:00:00"]
[167,"设备2_3",4.7,49,"0.00~100.00","0.00~0.00","2022-1-18 11:30:00"]
[168,"设备2_3",6,40,"0.00~100.00","0.00~0.00","2022-1-18 11:00:00"]
[169,"设备2_3",4.7,49,"0.00~100.00","0.00~0.00","2022-1-18 10:30:00"]
[170,"设备2_3",5.7,42,"0.00~100.00","0.00~0.00","2022-1-18 09:00:00"]
[171,"设备2_3",6,40,"0.00~100.00","0.00~0.00","2022-1-18 02:00:00"]
[172,"设备2_3",4.7,49,"0.00~100.00","0.00~0.00","2022-1-18 01:30:00"]
[173,"设备2_3",6,40,"0.00~100.00","0.00~0.00","2022-1-18 01:00:00"]
[174,"设备2_4",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[175,"设备2_4",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[176,"设备2_4",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[177,"设备2_4",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[178,"设备2_4",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[179,"设备2_4",5.9,40,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[180,"设备2_4",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[181,"设备2_4",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[182,"设备2_4",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[183,"设备2_5",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[184,"设备2_5",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[185,"设备2_5",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[186,"设备2_5",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[187,"设备2_5",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[188,"设备2_5",6.4,47,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[189,"设备2_5",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[190,"设备2_5",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[191,"设备2_5",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[192,"设备2_6",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[193,"设备2_6",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[194,"设备2_6",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[195,"设备2_6",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[196,"设备2_6",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[197,"设备2_6",6.7,56,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[198,"设备2_6",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[199,"设备2_6",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[200,"设备2_6",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[201,"设备2_7",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[202,"设备2_7",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[203,"设备2_7",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[204,"设备2_7",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[205,"设备2_7",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[206,"设备2_7",6.6,59,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[207,"设备2_7",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[208,"设备2_7",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[209,"设备2_7",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[210,"设备2_8",5.1,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[211,"设备2_8",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[212,"设备2_8",5.1,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[213,"设备2_8",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[214,"设备2_8",5.1,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[215,"设备2_8",6.1,54,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[216,"设备2_8",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[217,"设备2_8",5.1,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[218,"设备2_8",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[219,"设备2_9",4.7,52,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[220,"设备2_9",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[221,"设备2_9",4.7,52,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[222,"设备2_9",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[223,"设备2_9",4.7,52,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[224,"设备2_9",5.8,44,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[225,"设备2_9",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[226,"设备2_9",4.7,52,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[227,"设备2_9",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[228,"设备2_10",4.8,43,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[229,"设备2_10",6,41,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[230,"设备2_10",4.8,43,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[231,"设备2_10",6,41,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[232,"设备2_10",4.8,43,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[233,"设备2_10",5.8,40,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[234,"设备2_10",6,41,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[235,"设备2_10",4.8,43,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[236,"设备2_10",6,41,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[237,"设备2_11",5.2,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[238,"设备2_11",6.5,50,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[239,"设备2_11",5.2,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[240,"设备2_11",6.5,50,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[241,"设备2_11",5.2,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[242,"设备2_11",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[243,"设备2_11",6.5,50,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[244,"设备2_11",5.2,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[245,"设备2_11",6.5,50,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[246,"设备2_12",5.6,46,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[247,"设备2_12",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[248,"设备2_12",5.6,46,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[249,"设备2_12",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[250,"设备2_12",5.6,46,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[251,"设备2_12",6.6,54,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[252,"设备2_12",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[253,"设备2_12",5.6,46,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[254,"设备2_12",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[255,"设备2_13",5.6,55,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[256,"设备2_13",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[257,"设备2_13",5.6,55,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[258,"设备2_13",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[259,"设备2_13",5.6,55,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[260,"设备2_13",6.7,59,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[261,"设备2_13",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[262,"设备2_13",5.6,55,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[263,"设备2_13",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[264,"设备2_14",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[265,"设备2_14",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[266,"设备2_14",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[267,"设备2_14",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[268,"设备2_14",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[269,"设备2_14",6.3,56,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[270,"设备2_14",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[271,"设备2_14",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[272,"设备2_14",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[273,"设备2_15",4.8,55,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[274,"设备2_15",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[275,"设备2_15",4.8,55,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[276,"设备2_15",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[277,"设备2_15",4.8,55,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[278,"设备2_15",5.8,47,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[279,"设备2_15",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[280,"设备2_15",4.8,55,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[281,"设备2_15",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[282,"设备2_16",4.7,45,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[283,"设备2_16",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[284,"设备2_16",4.7,45,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[285,"设备2_16",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[286,"设备2_16",4.7,45,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[287,"设备2_16",5.7,40,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[288,"设备2_16",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[289,"设备2_16",4.7,45,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[290,"设备2_16",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[291,"设备2_17",5,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[292,"设备2_17",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[293,"设备2_17",5,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[294,"设备2_17",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[295,"设备2_17",5,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[296,"设备2_17",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[297,"设备2_17",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[298,"设备2_17",5,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[299,"设备2_17",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[300,"设备2_18",5.5,43,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[301,"设备2_18",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[302,"设备2_18",5.5,43,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[303,"设备2_18",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[304,"设备2_18",5.5,43,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[305,"设备2_18",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[306,"设备2_18",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[307,"设备2_18",5.5,43,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[308,"设备2_18",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[309,"设备2_19",5.7,53,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[310,"设备2_19",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[311,"设备2_19",5.7,53,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[312,"设备2_19",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[313,"设备2_19",5.7,53,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[314,"设备2_19",6.7,59,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[315,"设备2_19",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[316,"设备2_19",5.7,53,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[317,"设备2_19",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[318,"设备2_20",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[319,"设备2_20",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[320,"设备2_20",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[321,"设备2_20",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[322,"设备2_20",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[323,"设备2_20",6.4,58,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[324,"设备2_20",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[325,"设备2_20",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[326,"设备2_20",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[327,"设备2_21",4.9,57,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[328,"设备2_21",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[329,"设备2_21",4.9,57,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[330,"设备2_21",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[331,"设备2_21",4.9,57,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[332,"设备2_21",5.9,49,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[333,"设备2_21",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[334,"设备2_21",4.9,57,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[335,"设备2_21",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[336,"设备2_22",4.7,48,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[337,"设备2_22",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[338,"设备2_22",4.7,48,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[339,"设备2_22",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[340,"设备2_22",4.7,48,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[341,"设备2_22",5.7,41,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[342,"设备2_22",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[343,"设备2_22",4.7,48,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[344,"设备2_22",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[345,"设备2_23",4.9,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[346,"设备2_23",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[347,"设备2_23",4.9,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[348,"设备2_23",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[349,"设备2_23",4.9,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[350,"设备2_23",5.9,40,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[351,"设备2_23",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[352,"设备2_23",4.9,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[353,"设备2_23",6.2,44,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[354,"设备2_24",5.4,41,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[355,"设备2_24",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[356,"设备2_24",5.4,41,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[357,"设备2_24",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[358,"设备2_24",5.4,41,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[359,"设备2_24",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[360,"设备2_24",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[361,"设备2_24",5.4,41,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[362,"设备2_24",6.7,54,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[363,"设备2_25",5.7,50,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[364,"设备2_25",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[365,"设备2_25",5.7,50,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[366,"设备2_25",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[367,"设备2_25",5.7,50,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[368,"设备2_25",6.7,57,"0.00~0.00","0.00~0.00","2022-1-18 09:00:00"]
[369,"设备2_25",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[370,"设备2_25",5.7,50,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[371,"设备2_25",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[372,"设备2_26",5.5,58,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[373,"设备2_26",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[374,"设备2_26",5.5,58,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[375,"设备2_26",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[376,"设备2_26",5.5,58,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[377,"设备2_26",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[378,"设备2_26",5.5,58,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[379,"设备2_26",6.8,56,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[380,"设备2_27",5,58,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[381,"设备2_27",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[382,"设备2_27",5,58,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[383,"设备2_27",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[384,"设备2_27",5,58,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[385,"设备2_27",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[386,"设备2_27",5,58,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[387,"设备2_27",6.3,47,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[388,"设备2_28",4.7,51,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[389,"设备2_28",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[390,"设备2_28",4.7,51,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[391,"设备2_28",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[392,"设备2_28",4.7,51,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[393,"设备2_28",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[394,"设备2_28",4.7,51,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[395,"设备2_28",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[396,"设备2_29",4.8,42,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[397,"设备2_29",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[398,"设备2_29",4.8,42,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[399,"设备2_29",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[400,"设备2_29",4.8,42,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[401,"设备2_29",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[402,"设备2_29",4.8,42,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[403,"设备2_29",6.1,42,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[404,"设备2_30",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[405,"设备2_30",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[406,"设备2_30",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[407,"设备2_30",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[408,"设备2_30",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[409,"设备2_30",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[410,"设备2_30",5.3,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[411,"设备2_30",6.5,51,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[412,"设备2_31",5.6,47,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[413,"设备2_31",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[414,"设备2_31",5.6,47,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[415,"设备2_31",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[416,"设备2_31",5.6,47,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[417,"设备2_31",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[418,"设备2_31",5.6,47,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[419,"设备2_31",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[420,"设备2_32",5.6,56,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[421,"设备2_32",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[422,"设备2_32",5.6,56,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[423,"设备2_32",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[424,"设备2_32",5.6,56,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[425,"设备2_32",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[426,"设备2_32",5.6,56,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[427,"设备2_32",6.9,58,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[428,"设备2_33",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[429,"设备2_33",6.4,49,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[430,"设备2_33",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[431,"设备2_33",6.4,49,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[432,"设备2_33",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[433,"设备2_33",6.4,49,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[434,"设备2_33",5.2,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[435,"设备2_33",6.4,49,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[436,"设备2_34",4.8,53,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[437,"设备2_34",6,41,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[438,"设备2_34",4.8,53,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[439,"设备2_34",6,41,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[440,"设备2_34",4.8,53,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[441,"设备2_34",6,41,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[442,"设备2_34",4.8,53,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[443,"设备2_34",6,41,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[444,"设备2_35",4.7,44,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[445,"设备2_35",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[446,"设备2_35",4.7,44,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[447,"设备2_35",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[448,"设备2_35",4.7,44,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[449,"设备2_35",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[450,"设备2_35",4.7,44,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[451,"设备2_35",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[452,"设备2_36",5.1,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[453,"设备2_36",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[454,"设备2_36",5.1,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[455,"设备2_36",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[456,"设备2_36",5.1,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[457,"设备2_36",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[458,"设备2_36",5.1,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[459,"设备2_36",6.4,48,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[460,"设备2_37",5.6,44,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[461,"设备2_37",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[462,"设备2_37",5.6,44,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[463,"设备2_37",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[464,"设备2_37",5.6,44,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[465,"设备2_37",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[466,"设备2_37",5.6,44,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[467,"设备2_37",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[468,"设备2_38",5.7,54,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[469,"设备2_38",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[470,"设备2_38",5.7,54,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[471,"设备2_38",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[472,"设备2_38",5.7,54,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[473,"设备2_38",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[474,"设备2_38",5.7,54,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[475,"设备2_38",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[476,"设备2_39",5.3,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[477,"设备2_39",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[478,"设备2_39",5.3,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[479,"设备2_39",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[480,"设备2_39",5.3,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[481,"设备2_39",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[482,"设备2_39",5.3,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[483,"设备2_39",6.6,52,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[484,"设备2_40",4.8,56,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[485,"设备2_40",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[486,"设备2_40",4.8,56,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[487,"设备2_40",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[488,"设备2_40",4.8,56,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[489,"设备2_40",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[490,"设备2_40",4.8,56,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[491,"设备2_40",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[492,"设备2_41",4.7,46,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[493,"设备2_41",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[494,"设备2_41",4.7,46,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[495,"设备2_41",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[496,"设备2_41",4.7,46,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[497,"设备2_41",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[498,"设备2_41",4.7,46,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[499,"设备2_41",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[500,"设备2_42",5,40,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[501,"设备2_42",6.3,46,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[502,"设备2_42",5,40,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[503,"设备2_42",6.3,46,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[504,"设备2_42",5,40,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[505,"设备2_42",6.3,46,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[506,"设备2_42",5,40,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[507,"设备2_42",6.3,46,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[508,"设备2_43",5.5,42,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[509,"设备2_43",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[510,"设备2_43",5.5,42,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[511,"设备2_43",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[512,"设备2_43",5.5,42,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[513,"设备2_43",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[514,"设备2_43",5.5,42,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[515,"设备2_43",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[516,"设备2_44",5.7,51,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[517,"设备2_44",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[518,"设备2_44",5.7,51,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[519,"设备2_44",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[520,"设备2_44",5.7,51,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[521,"设备2_44",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[522,"设备2_44",5.7,51,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[523,"设备2_44",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[524,"设备2_45",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[525,"设备2_45",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[526,"设备2_45",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[527,"设备2_45",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[528,"设备2_45",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[529,"设备2_45",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[530,"设备2_45",5.4,59,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[531,"设备2_45",6.7,55,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[532,"设备2_46",5,58,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[533,"设备2_46",6.2,45,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[534,"设备2_46",5,58,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[535,"设备2_46",6.2,45,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[536,"设备2_46",5,58,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[537,"设备2_46",6.2,45,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[538,"设备2_46",5,58,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[539,"设备2_46",6.2,45,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[540,"设备2_47",4.7,49,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[541,"设备2_47",6,40,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[542,"设备2_47",4.7,49,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[543,"设备2_47",6,40,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[544,"设备2_47",4.7,49,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[545,"设备2_47",6,40,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[546,"设备2_47",4.7,49,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[547,"设备2_47",6,40,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[548,"设备2_48",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[549,"设备2_48",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[550,"设备2_48",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[551,"设备2_48",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[552,"设备2_48",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[553,"设备2_48",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[554,"设备2_48",4.9,41,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[555,"设备2_48",6.1,43,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[556,"设备2_49",5.3,41,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[557,"设备2_49",6.6,53,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[558,"设备2_49",5.3,41,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[559,"设备2_49",6.6,53,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[560,"设备2_49",5.3,41,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[561,"设备2_49",6.6,53,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[562,"设备2_49",5.3,41,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[563,"设备2_49",6.6,53,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[564,"设备2_50",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[565,"设备2_50",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[566,"设备2_50",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[567,"设备2_50",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[568,"设备2_50",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[569,"设备2_50",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[570,"设备2_50",5.7,48,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[571,"设备2_50",6.9,59,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]
[572,"设备2_51",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 12:30:00"]
[573,"设备2_51",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 12:00:00"]
[574,"设备2_51",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 11:30:00"]
[575,"设备2_51",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 11:00:00"]
[576,"设备2_51",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 10:30:00"]
[577,"设备2_51",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 02:00:00"]
[578,"设备2_51",5.6,57,"0.00~0.00","0.00~0.00","2022-1-18 01:30:00"]
[579,"设备2_51",6.8,57,"0.00~0.00","0.00~0.00","2022-1-18 01:00:00"]