{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":288,"n_cols":5,"rows_kept":288,"cut":false,"hidden":false,"merged":[]}
["探头编号","温度","湿度℃","坐标","记录时间"]
[1,25.1,66.6,"106.6505355835,26.651023864746","2024-06-24 14:09:00"]
[1,25.1,66.6,"106.6505355835,26.651023864746","2024-06-24 14:06:00"]
[1,25.1,66.5,"106.6505355835,26.651023864746","2024-06-24 14:03:00"]
[1,25.1,66.6,"106.6505355835,26.651023864746","2024-06-24 14:00:00"]
[1,25,66.5,"106.6505355835,26.651023864746","2024-06-24 13:57:00"]
[1,25.1,66.6,"106.6505355835,26.651023864746","2024-06-24 13:54:00"]
[1,25,66.6,"106.6505355835,26.651023864746","2024-06-24 13:51:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 13:50:00"]
[1,25.1,66.6,"106.6505355835,26.651023864746","2024-06-24 13:48:00"]
[1,25,66.6,"106.6505355835,26.651023864746","2024-06-24 13:45:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 13:42:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 13:39:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 13:36:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 13:33:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 13:30:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 13:27:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 13:24:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 13:21:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 13:18:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 13:15:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 13:12:00"]
[1,24.7,66.6,"106.6505355835,26.651023864746","2024-06-24 13:09:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 13:06:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 13:03:00"]
[1,24.6,66.6,"106.6505355835,26.651023864746","2024-06-24 13:00:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:57:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:54:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:51:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:48:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:45:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 12:42:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:39:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:36:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:33:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:30:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:27:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:24:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:21:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:18:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:15:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:12:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:09:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:06:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 12:03:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 12:00:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:57:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:54:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:51:00"]
[1,333,66.5,"106.6505355835,26.651023864746","2024-06-24 11:50:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:48:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:45:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:42:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:39:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:36:00"]
[1,25,66.5,"106.6505355835,26.651023864746","2024-06-24 11:33:00"]
[1,25,66.5,"106.6505355835,26.651023864746","2024-06-24 11:30:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:27:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:24:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:21:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:18:00"]
[1,24.9,66.5,"106.6505355835,26.651023864746","2024-06-24 11:15:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 11:12:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 11:09:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 11:06:00"]
[1,27.5,66.4,"","2024-06-24 11:05:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 11:03:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 11:00:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 10:57:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 10:54:00"]
[1,24.8,66.5,"106.6505355835,26.651023864746","2024-06-24 10:51:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 10:48:00"]
[1,24.7,66.5,"106.6505355835,26.651023864746","2024-06-24 10:45:00"]
[1,24.6,66.5,"106.6505355835,26.651023864746","2024-06-24 10:42:00"]
[1,24.6,66.4,"106.6505355835,26.651023864746","2024-06-24 10:39:00"]
[1,24.6,66.5,"106.6505355835,26.651023864746","2024-06-24 10:36:00"]
[1,24.6,66.5,"106.6505355835,26.651023864746","2024-06-24 10:33:00"]
[1,24.5,66.5,"106.6505355835,26.651023864746","2024-06-24 10:30:00"]
[1,24.5,66.5,"106.6505355835,26.651023864746","2024-06-24 10:27:00"]
[1,24.5,66.5,"106.6505355835,26.651023864746","2024-06-24 10:24:00"]
[1,24.5,66.4,"106.6505355835,26.651023864746","2024-06-24 10:21:00"]
[1,24.5,66.4,"106.6505355835,26.651023864746","2024-06-24 10:18:00"]
[1,24.5,66.4,"106.6505355835,26.651023864746","2024-06-24 10:15:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 10:12:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 10:09:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 10:06:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 10:03:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 10:00:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 09:57:00"]
[1,24.5,66.4,"106.6505355835,26.651023864746","2024-06-24 09:54:00"]
[1,24.5,66.4,"106.6505355835,26.651023864746","2024-06-24 09:51:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 09:48:00"]
[1,24.4,66.4,"106.6505355835,26.651023864746","2024-06-24 09:45:00"]
[1,24.3,66.4,"106.6505355835,26.651023864746","2024-06-24 09:42:00"]
[1,24.3,66.4,"106.6505355835,26.651023864746","2024-06-24 09:39:00"]
[1,24.3,66.4,"106.6505355835,26.651023864746","2024-06-24 09:36:00"]
[1,24.3,66.4,"106.6505355835,26.651023864746","2024-06-24 09:33:00"]
[1,24.3,66.4,"106.6505355835,26.651023864746","2024-06-24 09:30:00"]
[1,24.2,66.4,"106.6505355835,26.651023864746","2024-06-24 09:27:00"]
[1,24.2,66.4,"106.6505355835,26.651023864746","2024-06-24 09:24:00"]
[1,24.2,66.4,"106.6505355835,26.651023864746","2024-06-24 09:21:00"]
[1,24.2,66.4,"106.6505355835,26.651023864746","2024-06-24 09:18:00"]
[1,24.1,66.4,"106.6505355835,26.651023864746","2024-06-24 09:15:00"]
[1,24.1,66.4,"106.6505355835,26.651023864746","2024-06-24 09:12:00"]
[1,24.1,66.4,"106.6505355835,26.651023864746","2024-06-24 09:09:00"]
[1,24.3,66.6,"106.64535522461,26.654289245605","2024-06-24 09:06:00"]
[1,23.6,66.4,"106.6505355835,26.651023864746","2024-06-24 09:03:00"]
[1,23.5,66.4,"106.64535522461,26.654289245605","2024-06-24 09:00:00"]
[1,23.3,66.3,"106.64535522461,26.654289245605","2024-06-24 08:57:00"]
[1,23.1,66.3,"106.64535522461,26.654289245605","2024-06-24 08:54:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 08:51:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 08:48:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:45:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:42:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:39:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:36:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:33:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:30:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:27:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:24:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:21:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:18:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:15:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 08:12:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:09:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:06:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:03:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 08:00:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:57:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:54:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:51:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:48:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:45:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:42:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:39:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:36:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:33:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:30:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:27:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:24:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 07:21:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:18:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:15:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:12:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:09:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:06:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:03:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 07:00:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:57:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:54:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:51:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 06:48:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:45:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:42:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 06:39:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:36:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:33:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:30:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:27:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:24:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:21:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:18:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:15:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:12:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:09:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:06:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:03:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 06:00:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:57:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:54:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:51:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:48:00"]
[1,22.8,66.3,"106.64540100098,26.653648376465","2024-06-24 05:45:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:42:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:39:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:36:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:33:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:30:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:27:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:24:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:21:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:18:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:15:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 05:12:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:09:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:06:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:03:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 05:00:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 04:57:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 04:54:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 04:51:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 04:48:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:45:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 04:42:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 04:39:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:36:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:33:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 04:30:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:27:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:24:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:21:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:18:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 04:15:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 04:12:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 04:09:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 04:06:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 04:03:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 04:00:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:57:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:54:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:51:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 03:48:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 03:45:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:42:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:39:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:36:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 03:33:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 03:30:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:27:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:24:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:21:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 03:18:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:15:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:12:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 03:09:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:06:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:03:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 03:00:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:57:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:54:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:51:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:48:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:45:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:42:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 02:39:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:36:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 02:33:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 02:30:00"]
[1,22.7,66.2,"106.64540100098,26.653648376465","2024-06-24 02:27:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:24:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:21:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:18:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:15:00"]
[1,22.8,66.3,"106.64540100098,26.653648376465","2024-06-24 02:12:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:09:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 02:06:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 02:03:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 02:00:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:57:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:54:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:51:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:48:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:45:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:42:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:39:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:36:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:33:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:30:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 01:27:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:24:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:21:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:18:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:15:00"]
[1,22.9,66.3,"106.64540100098,26.653648376465","2024-06-24 01:12:00"]
[1,22.8,66.2,"106.64540100098,26.653648376465","2024-06-24 01:09:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 01:06:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 01:03:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 01:00:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:57:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:54:00"]
[1,23,66.3,"106.64540100098,26.653648376465","2024-06-24 00:51:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:48:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:45:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:42:00"]
[1,22.9,66.2,"106.64540100098,26.653648376465","2024-06-24 00:39:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:36:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:33:00"]
[1,23,66.2,"106.64540100098,26.653648376465","2024-06-24 00:30:00"]
[1,23.1,66.2,"106.64540100098,26.653648376465","2024-06-24 00:27:00"]
[1,23.1,66.2,"106.64540100098,26.653648376465","2024-06-24 00:24:00"]
[1,23.1,66.3,"106.64540100098,26.653648376465","2024-06-24 00:21:00"]
[1,23.2,66.3,"106.64540100098,26.653648376465","2024-06-24 00:18:00"]
[1,23.2,66.2,"106.64540100098,26.653648376465","2024-06-24 00:15:00"]
[1,23.2,66.3,"106.64540100098,26.653648376465","2024-06-24 00:12:00"]
[1,23.2,66.3,"106.64540100098,26.653648376465","2024-06-24 00:09:00"]
[1,23.2,66.3,"106.64540100098,26.653648376465","2024-06-24 00:06:00"]
[1,23.2,66.3,"106.64540100098,26.653648376465","2024-06-24 00:03:00"]
[1,23.3,66.3,"106.64540100098,26.653648376465","2024-06-24 00:00:00"]